Outline

---
Introduction

---
μ-reactors

---
Experimental Setup

---
Experimental Setup

---
A Typical Measurement

---
Heating Mechanisms

---
Temperature profiles

---
The Grand Master Plan
- Thin Film Measurements
- Nano Particle Measurements
- Publish

---
Measuring active catalyst surface area
We need to develop a way of measuring the active area of the catalysts in the reactor

---
Area Measurements
Measurement principle:
CO-titration
Dose oxygen
Evacuate reactor
Dose CO
Watch for CO2
Limitations
Works only for Pt
Not very sensitive

---
Area Measurements
Calibraation experiments performed on thin films
Easy cleaning
Known surface area
Stable system allows for lots of experimentation
Sensitivity....
Reproducebility....

---
Area Measurements
Cluster source
Billede af NP....
Billede af cluster source
Heating to 420◦ C in 1 bar O2
 Heating to 300◦ C in 1 bar He
 Heating to 300◦ C in 0.5 bar CO
 Heating to 350◦ C in 1 bar O2
 Heating to 300◦ C in 0.5 bar CO
 Heating to 250◦ C in 1 bar O2
 Heating to 300◦ C in 0.5 bar CO
 Heating to 150◦ C in 1 bar O2
 Heating to 300◦ C in 0.5 bar CO

---
Area Measurements

---
Area Measurements

---
Area Measurements
Summarize according to Grand Master Plan

---
Oscillating CO Oxidation

---
Oscillating Reactions

---
Oscillating Reactions

---
Oscillating Reactions

---
Oscillating Reactions

---
Oscillating Reactions

---
Oscillating Reactions
Summarize according to grand master plan

---
Sensitivity Measurements
Question. How small amounts of catalyst can be measures in the microreactor setup?

---
Sensitivity Measurements
#	Radius / μm	Area / μm2	Reactor coverage
N5	3.5	38.5	4.9 x 10-7
N8	15	707	9.0 x 10-6
N9	25	1960	2.5 x 10-5
N10	50	7850	1.0 x 10-4
N11	250	196000	2.5 x 10-3

---
Sensitivity Measurements

---
Sensitivity Measurements
Background corection
Background turns out to be mainly dominated by the oxygen level

---
Sensitivity Measurements
Mass Spec Calibration
How do we get from MS-output to actual turn over frequency?

---
Sensitivity Measurements

---
Sensitivity Measurements

---
Sensitivity Measurements
Lessons to be learned

---
Sensitivity Measurements
Summarize according to grand master plan

---
Time-Of-Flight Mass
Spectrometry

---
Time-Of-Flight Mass
Spectrometry

---
Time-Of-Flight Mass
Spectrometry

---
Time-Of-Flight Mass
Spectrometry

---
Time-Of-Flight Mass
Spectrometry

---
Time-Of-Flight Mass
Spectrometry
Summarize acording to grand master plan

---
Conclusions